## Slide 1: Physics of Murmurs
Dr Rakesh Jain
Senior Resident, Dept. of Cardiology
Govt. Medical College, Calicut

## Slide 2
Cardiac murmurs are audible turbulent sound waves in the range of 20 to 20,000 cycles/second emanating from the heart and vascular system
Cardiac murmurs are the direct result of blood flow turbulence
Noise level of auscultation room should be 35 dB or below (average noise level in hospital is usually 60-70 dB)

## Slide 3: The character of a Sound
Amplitude = volume or loudness or intensity
2. Pitch = frequency = tone
3. Timbre = presence or absence of integral multiplications of the
fundamental harmonic = quality

## Slide 4: Sound wave

## Slide 5: Amplitude
Volume or loudness or intensity (decibel, dB)
10 dBs means it has 10 times the intensity of the reference value. At 20 decibels the intensity is 100 times greater. (reference value: usually the softest sound intensity that humans can hear)
Usually a subjective judgement, (Levine classification in 6 grades)
Amount of turbulence and consequently the intensity of a cardiac murmur depend on
  (1) Size of the orifice or vessel through which the blood flows
  (2) Pressure difference or gradient across the narrowing and
  (3) Volume of blood flow across the site

## Slide 6: Frequency
Waves per second (Hertz, Hz)
Determines the perception of pitch (low, medium or high pitch)
High frequency sounds are better heard at any level of sound intensity than low frequency sound. Low frequencies are not heard as well and need larger amplitudes to sound equally loud
In contrast to intensity, the frequency of a cardiac murmur is proportional only to a pressure difference or gradient across a narrowing.

## Slide 7: Frequency …
PITCH | HZ | COMMON TERMS | Typical Murmur
LOW | 25-125 | Low pressure gradient, Rough & rumbling | MS, TS
MED | 125-300 | Rough murmur | innocent “flow” murmur of childhood
HIGH | >300 | High pressure gradient, blowing murmur | Blowing: MR, AR Musical: Cooing murmur of papillary M rupture
MIXED |  | Combination of MED & HIGH frequencies, Harsh murmurs | AS, PS, VSD

## Slide 8: Timber = Quality
Component parts of a complex waveform (multiple accessory waveforms or overtones)
  Pure timbre: repeated vibration of something at a constant frequency with dominant harmonics (‘‘harmony’’ or ‘‘music’’)
  Impure timbre: composed of many different and unrelated frequencies; “coarse”, “noisy”, “harsh” (Dissonance or noise)
So, there are only two fundamental qualities of sound: musical and noisy

## Slide 9
Blowing Murmurs: High frequency murmurs produced by large pressure gradients
Rumbling Murmurs: Low frequency murmurs produced by areas of small pressure gradients
• Harsh Murmurs: Combination of high & medium frequency murmurs, produced
large pressure gradients and high flow volumes

## Slide 10
thanks